UBC OZONE DEPLETING SUBSTANCES - AUDIT CHECKLIST

Refer to BC Ozone Depleting Substances and Other Halocarbons Regulation BC Reg. 4/2010 for compliance details.

Code of Practice Draft, 2011: http://www.ec.gc.ca/air/default.asp?lang=En&n=E702A47B-1

| General Information |  |
| --- | --- |
| Date |  |
| Checklist completed by |  |
| Company name |  |
| Address |  |
| Responsible Person |  |
| Contact info | Email: | Tel: |

| Regulation Related Requirements | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| General Requirements |  |  |  |  |
| Does company have procedures to ensure that Ozone Depleting Substances (ODSs) and other halocarbons are not released from Refrigeration Equipment OR container, device or equipment used in the re-use, recycling, reclaiming or storage of an ODS? |  |  |  |  |
| Does company store, dispose, and destroy ODSs in a way that will not harm the environment? |  |  |  |  |
| Approved Persons |  |  |  |  |
| Does only an approved person purchase ODS or ODS containing equipment? |  |  |  |  |
| Does only an approved person possess ODS or ODS containing equipment? |  |  |  |  |
| Does only an approved person provide service for ODS containing equipment? |  |  |  |  |
| Does company (business owner) ensure that all service providers are approved persons? |  |  |  |  |
| Does company maintain records of approved persons: employee’s name Environment Canada course completion date registration number trade qualifications |  |  |  |  |
| Refrigeration & Air Conditioning Equipment |  |  |  |  |
| Does service personnel have proper ODS recovery and/or recycling devices (that meet or exceed performance prescribed by regs) to prevent ODS release to the environment? |  |  |  |  |
| Is service of refrigeration and air conditioning units performed according to the Code of Practice for elimination of fluorocarbons emissions from refrigeration and air conditioning systems, as published by Environment Canada? |  |  |  |  |
| Does company have high efficiency purge devices or other controls installed after January 1, 2001 that are in proper operation? |  |  |  |  |
| Are ODSs recovered, recycled and/or disposed according to BC Hazardous Waste Regulation? |  |  |  |  |
| Do you have procedures to ensure that ODSs are not added to equipment for the purpose of testing? |  |  |  |  |
| Is every equipment or device leak tested prior to being charged or recharged with ODS? |  |  |  |  |
| Are all ODS storage containers refillable and appropriate? |  |  |  |  |
| Are all refillable containers regularly spot-checked for leaks? |  |  |  |  |
| Can all refillable containers be recharged with other non- ODS? |  |  |  |  |
| Labeling and record keeping |  |  |  |  |
| Does all the equipment have permanently affixed, legible labels or tags stating the quantity and type of substances contained in the equipment? |  |  |  |  |
| Are records of ODS evacuation, charge or recharge permanently affixed, on legible labels or tags AND written in a service log including: Result of leak test Type, amount of ODS added or evacuated If all ODS was evacuated it is ensured equipment does not contain ODS The date the substance was added/evacuated Name of person performing the job, their registration number, and business name if not UBC employee |  |  |  |  |
| Do service logs include chronological record of past 36 months for: Equipment service (charge/recharge of ODS) Incidents Leaks detected |  |  |  |  |
| Use of Class I Substances |  |  |  |  |
| Do you ensure Class I substances are NOT used for cleaning or as a diluent for a sterilant? |  |  |  |  |
| Do you ensure Class I substances are NOT used for charging: refrigeration systems with a capacity of 22 KW or more Note: This does not apply to chillers; household refrigerators and freezers; water coolers |  |  |  |  |
| Do you ensure chillers are not recharged with Class I substances after overhaul that includes modification or replacement of: Internal sealing Oil heather Oil pump Float or vane assembly |  |  |  |  |
| Are plans are in place to stop the use of Class I substances for chillers by January 1, 2015? |  |  |  |  |
| Release Reporting |  |  |  |  |
| Did facility have any ODS releases or spills? |  |  |  |  |
| If yes, the following releases have been reported per Spill Reporting Regulation |  |  |  |  |
| Any ODS or ODS mixture in excess of 10 kg |  |  |  |  |
| Carbon tetrachloride and dibromodifluoromethane in excess of 1 kg |  |  |  |  |
| Trichloroethane in excess of 5 kg |  |  |  |  |

Notes:

Schedule A

Class I: CFC, Halon and Chlorocarbon Compounds

1 CFCs (chlorofluorocarbons)

(a) current commercially used CFCs

CFC-11, trichlorofluoromethane, R-11

CFC-12, dichlorodifluoromethane, R-12

CFC-13, chlorotrifluoromethane, R-13

CFC-111, pentachlorofluoroethane, R-111

CFC-112, tetrachlorodifluoroethane, R-112

CFC-113, trichlorotrifluoroethane, R-113

CFC-114, dichlorotetrafluoroethane, R-114

CFC-115, chloropentafluoroethane, R-115

(b) all other CFCs, and

(c) all isomers and mixtures containing any of the above.

2 Halons

(a) Halon-1211, also known as bromochlorodifluoromethane,
Halon-1301, also known as bromotrifluoromethane,
Halon-2402, also known as dibromotetrafluoroethane,

(b) all other bromofluorocarbons and bromochlorofluorocarbons, and

(c) all isomers and mixtures containing any of the above.

3 Chlorocarbons

(a) trichloroethane also known as methylchloroform, R-140 
tetrachloromethane also known as carbon tetrachloride, R-10, and

(b) all isomers and mixtures containing any of the above.

Class II: Hydrochlorofluorocarbons

1 HCFC-21, dichlorofluoromethane, R-21

HCFC-22, chlorodifluoromethane, R-22

HCFC-31, chlorofluoromethane, R-31

HCFC-121, tetrachlorofluoroethane, R-121

HCFC-122, trichlorodifluoroethane, R-122

HCFC-123, dichlorotrifluoroethane, R-123

HCFC-124, chlorotetrafluoroethane, R-124

HCFC-131, trichlorofluoroethane, R-131

HCFC-132, dichlorodifluoroethane, R-132

HCFC-133, chlorotrifluoroethane, R-133

HCFC-141, dichlorofluoroethane, R-141

HCFC-142, chlorodifluoroethane, R-142

HCFC-151, chlorofluoroethane, R-151

HCFC-221, hexachlorofluoropropane, R-221

HCFC-222, pentachlorodifluoropropane, R-222

HCFC-223, tetrachlorotrifluoropropane, R-223

HCFC-224, trichlorotetrafluoropropane, R-224

HCFC-225, dichloropentafluoropropane, R-225

HCFC-226, chlorohexafluoropropane, R-226

HCFC-231, pentachlorofluoropropane, R-231

HCFC-232, tetrachlorodifluoropropane, R-232

HCFC-233, trichlorotrifluoropropane, R-233

HCFC-234, dichlorotetrafluoropropane, R-234

HCFC-235, chloropentafluoropropane, R-235

HCFC-241, tetrachlorofluoropropane, R-241

HCFC-242, trichlorodifluoropropane, R-242

HCFC-243, dichlorotrifluoropropane, R-243

HCFC-244, chlorotetrafluoropropane, R-244

HCFC-251, trichlorofluoropropane, R-251

HCFC-252, dichlorodifluoropropane, R-252

HCFC-253, chlorotrifluoropropane, R-253

HCFC-261, dichlorofluoropropane, R-261

HCFC-262, chlorodifluoropropane, R-262

HCFC-271, chlorofluoropropane, R-271.

2 All other hydrochlorofluorocarbons not specifically listed.

3 All mixtures containing any of the above.

Class III: Other Halocarbons

1 Hydrofluorocarbons

HFC-23, trifluoromethane, R-23

HFC-32, difluoromethane, R-32

HFC-125, pentafluoroethane, R-125

HFC-134, tetrafluoroethane, R-134

HFC-143, trifluoroethane, R-143

HFC-152, difluoroethane, R-152

HFC-161, monofluoroethane, R-161

HFC-281, fluoropropane, R-281

HFC-272, difluoropropane, R-272

HFC-263, trifluoropropane, R-263

HFC-254, tetrafluoropropane, R-254

HFC-245, pentafluoropropane, R-245

HFC-236, hexafluoropropane, R-236

HFC-227, heptafluoropropane, R-227.

2 Perfluorocarbons

FC-14, tetrafluoromethane

FC-116, hexafluoroethane

FC-218, octafluoropropane

FC-3-1-10, decafluorobutane

FC-4-1-12, dodecafluoropentane

FC-5-1-14, tetradecafluorohexane.

3 All other hydrofluorocarbons and perfluorocarbons not specifically listed.

4 All mixtures containing any of the above.